## Output
Subject Data
Subject Identifier: | 36 |  |  | Notes: | [5 empty] | Whole Blood Data
Study date: | 2021-11-16 |  |  | 1) All data corrected to system time of PET | [5 empty] | Sample |  | Bq/g | Ratio serum/WB
Radiopharmaceutical: | [18F]VAT | [8 empty] | Whole Blood Arterial 2 |  | 2708.2957 | 1.476
Injection time: | 9:51 | [8 empty] | Whole Blood Arterial 6 |  | 1117.5347 | 1.3456
Mass: | 189 lbs | [8 empty] | Whole Blood Arterial 16 |  | 522.7782 | 1.3611
Height: | 68 inches | [8 empty] | Whole Blood Arterial 30 |  | 382.8533 | 1.4397
[10 empty] | Whole Blood Arterial 60 |  | 353.0632 | 1.7163
[10 empty] | Whole Blood Arterial 90 |  | 381.7833 | 1.3766
[10 empty] | Whole Blood Arterial 130 |  | 372.231 | 1.3628
Free Fraction Data
Sample |  | Free Fraction
Saline |  | 91.83%
Pooled EDTA Plasma |  | 2.999%
Subject |  | 1.577%
Drug Quality at real injection time |  | 9:51
18F-VAT injected: | 3.4454 | mCi
Cold VAT : | 1.1135 | µg
Specific Activity (SA): | 3.0942 | mCi/µg
Manual Blood Radioanalysis | [5 empty] | HPLC Radioanalytical Data
|  | Activity (ID/kg) in: |  | Activity (Bq/mL) |  | Intact (ID/kg plasma) |  | Metabolites (ID/kg plasma) |  | Other Data
| time p.i. | Arterial Plasma |  | Arterial Plasma |  | Arterial Plasma |  | Arterial Plasma |  | Sample
Sample # | (min) | Mean | error | Mean | Error | Mean | Error | Mean | Error | Decription | Unit | error
Arterial 10 sec | 0.16667 | -0.00012864 | -8.8838e-06 | -16.399 | -1.1325
Arterial 20 sec | 0.33333 | 0.00015797 | 8.0641e-06 | 20.1387 | 1.028
Arterial 30 sec | 0.5 | 0.10708 | 0.00073436 | 13650.6817 | 93.617
Arterial 40 sec | 0.66667 | 0.14152 | 0.00090952 | 18041.6022 | 115.946
Arterial 50 sec | 0.83333 | 0.1638 | 0.0010247 | 20881.8654 | 130.6265
Arterial 60 sec | 1 | 0.13403 | 0.00087408 | 17085.8113 | 111.4283
Arterial 70 sec | 1.1667 | 0.14122 | 0.00091256 | 18003.4215 | 116.3341
Arterial 80 sec | 1.3333 | 0.07332 | 0.0005664 | 9346.8897 | 72.2054
Arterial 90 sec | 1.5 | 0.053473 | 0.00045329 | 6816.7495 | 57.7853
Arterial 100 sec | 1.6667 | 0.041056 | 0.00038001 | 5233.9004 | 48.4435
Arterial 110 sec | 1.8333 | 0.035754 | 0.00034641 | 4557.9603 | 44.1609
Arterial 2 | 2 | 0.031358 | 0.00028137 | 3997.5413 | 35.8687 | 0.031192 | 0.00027987 | 0.00016621 | 1.4914e-06
Arterial 140 sec | 2.3333 | 0.023255 | 0.00026238 | 2964.5094 | 33.4485
Arterial 160 sec | 2.6667 | 0.021035 | 0.00024821 | 2681.5426 | 31.6419
Arterial 180 sec | 3 | 0.020313 | 0.00024234 | 2589.5061 | 30.8943
Arterial 200 sec | 3.3333 | 0.018053 | 0.00022441 | 2301.3964 | 28.6074
Arterial 220 sec | 3.6667 | 0.017046 | 0.00021902 | 2173.0252 | 27.9212
Arterial 240 sec | 4 | 0.015958 | 0.00020915 | 2034.3691 | 26.6622
Arterial 6 | 6.1667 | 0.011796 | 0.00015633 | 1503.7121 | 19.9295 | 0.011402 | 0.00015111 | 0.00039405 | 5.2226e-06
Arterial 8 | 8 | 0.0097525 | 0.0001081 | 1243.2562 | 13.7805
Arterial 12 | 12 | 0.0067999 | 8.6083e-05 | 866.8601 | 10.9739
Arterial 16 | 16 | 0.0055818 | 7.5965e-05 | 711.5702 | 9.6841 | 0.004642 | 6.3176e-05 | 0.00093975 | 1.279e-05
Arterial 20 | 20 | 0.0048641 | 7.0301e-05 | 620.0794 | 8.962
Arterial 30 | 30 | 0.0043236 | 6.3843e-05 | 551.1753 | 8.1387 | 0.0026895 | 3.9713e-05 | 0.0016341 | 2.413e-05
Arterial 40 | 40 | 0.00421 | 6.4785e-05 | 536.6978 | 8.2588
Arterial 50 | 50 | 0.0039975 | 6.2989e-05 | 509.6014 | 8.0299
Arterial 60 | 60 | 0.0047533 | 7.0539e-05 | 605.9591 | 8.9923 | 0.0018745 | 2.7818e-05 | 0.0028788 | 4.2721e-05
Arterial 70 | 70.0167 | 0.0042923 | 6.6587e-05 | 547.1894 | 8.4886
Arterial 90 | 90.0833 | 0.0041228 | 6.4975e-05 | 525.5734 | 8.2831 | 0.0012847 | 2.0247e-05 | 0.002838 | 4.4728e-05
Arterial 110 | 110 | 0.0038808 | 6.3076e-05 | 494.7338 | 8.041
Arterial 130 | 130.3333 | 0.0039794 | 6.4405e-05 | 507.2921 | 8.2103 | 0.001057 | 1.7108e-05 | 0.0029223 | 4.7297e-05
Arterial 150 | 150.25 | 0.0040221 | 6.5424e-05 | 512.7346 | 8.3403

## Subject data
Subject Identifier: | 36
Initials: | MA
Study date: | 2021-11-16
Study Radiopharmaceutical: | [18F]VAT
Mass: | 189 lbs
Height: | 68 inches
Injection start time | 9:51 | TRUE
Flush start time: | 9:52
Flush volume: | 10 mL
System times: |  | System | Control | deviation
| NIST | Time | Time
| Y/N | (hh:mm:ss) | (hh:mm:ss) | (mins) | USED FOR
PET system time | Y | 8:19 | 8:19 | 0 | Inj, blood sampling, PET & mri scans
Dose calibrator system time | Y | 8:11 | 8:11 | -0.13333
Gamma counter system time | Y | 8:15 | 8:17 | -1.8
HPLC 2&3 system time: | Y | 8:14 | 8:17 | -3.5167
Dose calibrator in FERM | Y | 9:32 | 9:32 | -0.16667
Data recordered by: | DN/VM
Notes: All data to be supported by signed data collection sheet

## RDRC
Study PI | Chuan Huang
Study Radiopharmaceutical: | [18F]VAT
Study date: | 2021-11-16
Subject MRN # | 00036/VAT00015
Initials: | MA
IRB # | 2020-00669
IND# | 154403
Subject Sex | M
Subject DOB | 1963-10-08
Subject age: | 58.1081
Mass: | 189 lbs
Height: | 68 inches
Injection start time | 9:51
Injected Activity: | 3.4454 | mCi

## Dose data
Syringe Measurements
Dose calibrator: | CRC-55tR
s/n: | 551945H
Activity
| Activity | Time | Date | True time | Inj Time |  | Injected
Measurement | (mCi) | (hh:mm) | (mm:dd:yy) | (hh:mm) | 9:51 |  | (mCi)
Background | 0.0001 | 9:45 | 2021-11-16 | 9:45 | 9.6262e-05
Full Dose | 3.72 | 9:45 | 2021-11-16 | 9:45 | 3.5809 |  | 3.4454
Background | 3e-05 | 9:53 | 2021-11-16 | 9:53 | 3.0375e-05
Residual dose | 0.133 | 9:54 | 2021-11-16 | 9:54 | 0.13551
Injected Volume: |  | 1.7131 | mL
Concentration of dose: |  | 3.0543 | mCi/mL | at | 8:45 | EOS(Dose Calibrator in FERM)
Concentration of dose: |  | 2.0112 | mCi/mL | at | 9:51
Conc. of cold mass: |  | 0.65 | ug/mL
Total injected cold mass: |  | 1.1135 | ug
Operator: | DN/VM
Notes: All data to be supported by machine printout
Dose calibrator calibration records help by SBU radiology
Formulas:
Date = [Date, row above]

## Blood collection data
Operator: | DN/VM
Start time of auto sampling was |  | 9:51
Time
Description | (hh:mm:ss) | Use
Arterial 10 sec | 9:51 | gamma counting
Arterial 20 sec | 9:52 | gamma counting
Arterial 30 sec | 9:52 | gamma counting
Arterial 40 sec | 9:52 | gamma counting
Arterial 50 sec | 9:52 | gamma counting
Arterial 60 sec | 9:52 | gamma counting
Arterial 70 sec | 9:52 | gamma counting
Arterial 80 sec | 9:52 | gamma counting
Arterial 90 sec | 9:53 | gamma counting
Arterial 100 sec | 9:53 | gamma counting
Arterial 110 sec | 9:53 | gamma counting
Arterial 2 | 9:53 | gamma & HPLC
Arterial 140 sec | 9:53 | gamma counting
Arterial 160 sec | 9:54 | gamma counting
Arterial 180 sec | 9:54 | gamma counting
Arterial 200 sec | 9:54 | gamma counting
Arterial 220 sec | 9:55 | gamma counting
Arterial 240 sec | 9:55 | gamma counting
Arterial 6 | 9:57 | gamma & HPLC
Arterial 8 | 9:59 | gamma counting
Arterial 12 | 10:03 | gamma counting
Arterial 16 | 10:07 | gamma & HPLC
Arterial 20 | 10:11 | gamma counting
Arterial 30 | 10:21 | gamma & HPLC
Arterial 40 | 10:31 | gamma counting
Arterial 50 | 10:41 | gamma counting
Arterial 60 | 10:51 | gamma & HPLC
Arterial 70 | 11:01 | gamma counting
Arterial 90 | 11:21 | gamma & HPLC
Arterial 110 | 11:41 | gamma counting
Arterial 130 | 12:02 | gamma & HPLC
Arterial 150 | 12:21 | gamma counting

## Balance data
Balance: | Mettler MS105DU
s/n | B086423527 |  |  | Operator: | DN/VM
Expiration date | 2021-11-09
STD
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
5g Standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
10 - 110 | sec
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
10 sec | 0.15 | 1.5959 | 1.7372 | 0.1413 |  | -16.399 |  | 6.58% | 0.3265% | 6.906% | Time p.i. | 0.16667 | mins
20 sec | 0.15 | 1.597 | 1.7394 | 0.1424 |  | 20.1387 |  | 4.778% |  | 5.105% | Time p.i. | 0.33333 | mins | Notes: All data to be directly imported from balance
30 sec | 0.15 | 1.6087 | 1.7522 | 0.1435 |  | 13650.6817 |  | 0.3593% |  | 0.6858% | Time p.i. | 0.5 | mins
40 sec | 0.15 | 1.6106 | 1.7523 | 0.1417 |  | 18041.6022 |  | 0.3162% |  | 0.6427% | Time p.i. | 0.66667 | mins
50 sec | 0.15 | 1.5846 | 1.7228 | 0.1382 |  | 20881.8654 |  | 0.299% |  | 0.6256% | Time p.i. | 0.83333 | mins
60 sec | 0.15 | 1.5971 | 1.7408 | 0.1437 |  | 17085.8113 |  | 0.3257% |  | 0.6522% | Time p.i. | 1 | mins
70 sec | 0.15 | 1.6336 | 1.7765 | 0.1429 |  | 18003.4215 |  | 0.3197% |  | 0.6462% | Time p.i. | 1.1667 | mins
80 sec | 0.15 | 1.5742 | 1.7165 | 0.1423 |  | 9346.8897 |  | 0.446% |  | 0.7725% | Time p.i. | 1.3333 | mins
90 sec | 0.15 | 1.583 | 1.7269 | 0.1439 |  | 6816.7495 |  | 0.5212% |  | 0.8477% | Time p.i. | 1.5 | mins
100 sec | 0.15 | 1.5949 | 1.7377 | 0.1428 |  | 5233.9004 |  | 0.5991% |  | 0.9256% | Time p.i. | 1.6667 | mins
110 sec | 0.15 | 1.5737 | 1.7176 | 0.1439 |  | 4557.9603 |  | 0.6424% |  | 0.9689% | Time p.i. | 1.8333 | mins
2 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 2-1 | 0.2 | 1.622 | 1.8324 | 0.2104 |  | 3997.5413 | 3997.5413 | 0.5708% | 0.3265% | 0.8973% | Time p.i. | 2 | mins
Pellet Arterial 2 | 0.5 | 1.0759 | 1.1744 | 0.0985 |  | 641.3282
Whole Blood Arterial 2 | 0.3 | 1.6213 | 1.9267 | 0.3054 |  | 2708.2957
140 sec - 4 min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
140 sec | 0.15 | 1.6084 | 1.7534 | 0.145 |  | 2964.5094 |  | 0.8018% | 0.3265% | 1.128% | Time p.i. | 2.3333 | mins
160 sec | 0.15 | 1.584 | 1.7264 | 0.1424 |  | 2681.5426 |  | 0.8535% |  | 1.18% | Time p.i. | 2.6667 | mins
180 sec | 0.15 | 1.5971 | 1.7414 | 0.1443 |  | 2589.5061 |  | 0.8666% |  | 1.193% | Time p.i. | 3 | mins
200 sec | 0.15 | 1.5953 | 1.7414 | 0.1461 |  | 2301.3964 |  | 0.9165% |  | 1.243% | Time p.i. | 3.3333 | mins
220 sec | 0.15 | 1.6339 | 1.7764 | 0.1425 |  | 2173.0252 |  | 0.9584% |  | 1.285% | Time p.i. | 3.6667 | mins
240 sec | 0.15 | 1.635 | 1.7805 | 0.1455 |  | 2034.3691 |  | 0.9841% |  | 1.311% | Time p.i. | 4 | mins
6 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 6-1 | 0.2 | 1.5834 | 1.7761 | 0.1927 |  | 1503.7121 | 1503.7121 | 0.9989% | 0.3265% | 1.325% | Time p.i. | 6.1667 | mins
Pellet Arterial6 | 0.5 | 1.0176 | 1.1213 | 0.1037 |  | 282.1253
Whole Blood Arterial 6 | 0.3 | 1.5984 | 1.891 | 0.2926 |  | 1117.5347
8 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 8-1 | 0.4 | 1.6098 | 2.003 | 0.3932 |  | 1243.2562 | 1243.2562 | 0.7819% | 0.3265% | 1.108% | Time p.i. | 6.1667 | mins
12 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 12-1 | 0.4 | 1.6076 | 1.9985 | 0.3909 |  | 866.8601 | 866.8601 | 0.9394% | 0.3265% | 1.266% | Time p.i. | 8 | mins
16 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 16-1 | 0.4 | 1.6339 | 2.0279 | 0.394 |  | 711.5702 | 711.5702 | 1.034% | 0.3265% | 1.361% | Time p.i. | 12 | mins
Pellet Arterial 16 | 0.5 | 1.0654 | 1.1752 | 0.1098 |  | 145.6633
Whole Blood Arterial 16 | 0.3 | 1.6101 | 1.9 | 0.2899 |  | 522.7782
20 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 20-1 | 0.4 | 1.5948 | 1.9864 | 0.3916 |  | 620.0794 | 620.0794 | 1.119% | 0.3265% | 1.445% | Time p.i. | 16 | mins
30 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 30-1 | 0.4 | 1.6226 | 2.0425 | 0.4199 |  | 551.1753 | 551.1753 | 1.15% | 0.3265% | 1.477% | Time p.i. | 20 | mins
Pellet Arterial 30 | 0.5 | 1.0107 | 1.1162 | 0.1055 |  | 147.7757
Whole Blood Arterial 30 | 0.3 | 1.5732 | 1.8715 | 0.2983 |  | 382.8533
40 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 40-1 | 0.4 | 1.6224 | 2.016 | 0.3936 |  | 536.6978 | 536.6978 | 1.212% | 0.3265% | 1.539% | Time p.i. | 30 | mins
50 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 50-1 | 0.4 | 1.5846 | 1.9775 | 0.3929 |  | 509.6014 | 509.6014 | 1.249% | 0.3265% | 1.576% | Time p.i. | 40 | mins
60 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 60-1 | 0.4 | 1.5973 | 1.9893 | 0.392 |  | 605.9591 | 605.9591 | 1.157% | 0.3265% | 1.484% | Time p.i. | 50 | mins
Pellet Arterial60 | 0.5 | 1.0371 | 1.1439 | 0.1068 |  | 170.7262
Whole Blood Arterial 60 | 0.3 | 1.5843 | 1.8991 | 0.3148 |  | 353.0632
70 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 70-1 | 0.4 | 1.5833 | 1.9763 | 0.393 |  | 547.1894 | 547.1894 | 1.225% | 0.3265% | 1.551% | Time p.i. | 60 | mins
90 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 90-1 | 0.4 | 1.6217 | 2.0178 | 0.3961 |  | 525.5734 | 525.5734 | 1.25% | 0.3265% | 1.576% | Time p.i. | 70.0167 | mins
Pellet Arterial 90 | 0.5 | 1.0127 | 1.1174 | 0.1047 |  | 227.2024
Whole Blood Arterial 90 | 0.3 | 1.5731 | 1.8705 | 0.2974 |  | 381.7833
110 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 110-1 | 0.4 | 1.5818 | 1.977 | 0.3952 |  | 494.7338 | 494.7338 | 1.299% | 0.3265% | 1.625% | Time p.i. | 90.0833 | mins
130 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 130-1 | 0.4 | 1.6082 | 2.0017 | 0.3935 |  | 507.2921 | 507.2921 | 1.292% | 0.3265% | 1.618% | Time p.i. | 110 | mins
Pellet Arterial 130 | 0.5 | 1.037 | 1.1486 | 0.1116 |  | 225.8851
Whole Blood Arterial 130 | 0.3 | 1.6215 | 1.913 | 0.2915 |  | 372.231
150 | min
| Volume | Empty | Full | Sample
Description | (mL) | Mass (g) | Mass (g) | Mass (g) | Pass/Fail | activity
Tare: | NA | 0 | 0 | 0 | PASS | Single | Mean | sample | standard
1 g standard | NA | 0 | 5.0001 | 5.0001 | PASS | (Bq/g) | (Bq/g) | counts | counts | Total
Arterial 150-1 | 0.4 | 1.6216 | 2.0132 | 0.3916 |  | 512.7346 | 512.7346 | 1.3% | 0.3265% | 1.627% | Time p.i. | 150.25 | mins

## Gamma data
Gamma Counter: |  |  | Test source: | Na-22
Model: | HIDEX 425-601 |  | s/n |  | 2200-49
s/n: | 2180112 |  | Activity |  | 0.09614 | µCi
Count/Study date: | 2021-11-16 |  | Ref Date: |  | 2021-06-01
Operator: | DN/VM |  | Activity Today: |  | 0.085053 | µCi
[5 empty] | 3146.9535 | Bq
Decay Parameters: |  |  |  |  | 188817.2127 | dpm
Na-22 t½ | 2.6019 | years |  |  | 341003.8861 | cpm
511 yield | 180.6% |  | 22Na absolute effic. |  | 27.48%
F-18 t½ | 109.77 | mins | 18F relative efficiency | Efficiency | 53%
Rack # for gamma counting: |  | 13 | Time difference gamma to PET: |  | -1.8 | mins
10-110 | sec |  |  |  | Subject
|  | Time | Date | Counts | Injection Time
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) | (hh:mm:ss) | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 | 9:51 | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 10 Sec | 1 | 12:06 | 2021-11-16 | 77 |  |  | 137.1167 | -2.3172 | 11.4% | -2.3172 | 6.58%
Arterial 20 Sec | 2 | 12:08 | 2021-11-16 | 146 |  |  | 138.6333 | 2.8677 | 8.276% | 2.8677 | 4.778%
Arterial 30 Sec | 3 | 12:10 | 2021-11-16 | 25820 |  |  | 140.1333 | 1958.8728 | 0.6223% | 1958.8728 | 0.3593%
Arterial 40 Sec | 4 | 12:11 | 2021-11-16 | 33348 |  |  | 141.6333 | 2556.495 | 0.5476% | 2556.495 | 0.3162%
Arterial 50 Sec | 5 | 12:13 | 2021-11-16 | 37273 |  |  | 143.15 | 2885.8738 | 0.518% | 2885.8738 | 0.299%
Arterial 60 Sec | 6 | 12:14 | 2021-11-16 | 31429 |  |  | 144.65 | 2455.2311 | 0.5641% | 2455.2311 | 0.3257%
Arterial 70 Sec | 7 | 12:16 | 2021-11-16 | 32618 |  |  | 146.15 | 2572.6889 | 0.5537% | 2572.6889 | 0.3197%
Arterial 80 Sec | 8 | 12:17 | 2021-11-16 | 16757 |  |  | 147.65 | 1330.0624 | 0.7725% | 1330.0624 | 0.446%
Arterial 90 Sec | 9 | 12:19 | 2021-11-16 | 12271 |  |  | 149.15 | 980.9303 | 0.9027% | 980.9303 | 0.5212%
Arterial 100 Sec | 10 | 12:20 | 2021-11-16 | 9288 |  |  | 150.65 | 747.401 | 1.038% | 747.401 | 0.5991%
Arterial 110 Sec | 11 | 12:22 | 2021-11-16 | 8078 |  |  | 152.35 | 655.8905 | 1.113% | 655.8905 | 0.6424%
2 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 2-1 | 12 | 12:23 | 2021-11-16 | 10232 |  |  | 153.85 | 841.0827 | 0.9886% | 841.0827 | 0.5708%
Whole Blood Arterial 2 | 13 | 12:25 | 2021-11-16 | 9970 |  |  | 155.35 | 827.1135 | 1.002%
140 sec - 4min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 140 Sec | 14 | 12:26 | 2021-11-16 | 5185 |  |  | 156.85 | 429.8539 | 1.389% | 429.8539 | 0.8018%
Arterial 160 Sec | 15 | 12:28 | 2021-11-16 | 4576 |  |  | 158.3333 | 381.8517 | 1.478% | 381.8517 | 0.8535%
Arterial 180 Sec | 16 | 12:29 | 2021-11-16 | 4439 |  |  | 159.8333 | 373.6657 | 1.501% | 373.6657 | 0.8666%
Arterial 200 Sec | 17 | 12:31 | 2021-11-16 | 3968 |  |  | 161.35 | 336.234 | 1.588% | 336.234 | 0.9165%
Arterial 220 Sec | 18 | 12:32 | 2021-11-16 | 3629 |  |  | 162.8667 | 309.6561 | 1.66% | 309.6561 | 0.9584%
Arterial 240 sec | 19 | 12:34 | 2021-11-16 | 3442 |  |  | 164.3667 | 296.0007 | 1.704% | 296.0007 | 0.9841%
6 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 6-1 | 1 | 12:35 | 2021-11-16 | 3341 |  |  | 165.8667 | 289.7653 | 1.73% | 289.7653 | 0.9989%
Whole Blood Arterial 6 | 2 | 12:37 | 2021-11-16 | 3717 |  |  | 167.5833 | 326.9906 | 1.64%
8 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 8-1 | 3 | 12:38 | 2021-11-16 | 5452 |  |  | 169.1 | 488.8484 | 1.354% | 488.8484 | 0.7819%
12 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 12-1 | 4 | 12:40 | 2021-11-16 | 3777 |  |  | 170.6167 | 338.8556 | 1.627% | 338.8556 | 0.9394%
Whole Blood Arterial 12 | 5 |  | 2021-11-16 |  |  |  | -589.3667 | -0.082174 | #DIV/0! | -0.082174 | #DIV/0!
16 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 16-1 | 6 | 12:41 | 2021-11-16 | 3115 |  |  | 172.1167 | 280.3586 | 1.792% | 280.3586 | 1.034%
Whole Blood Arterial 16 | 7 | 12:43 | 2021-11-16 | 1718 |  |  | 173.6333 | 151.5534 | 2.413%
20 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 20-1 | 8 | 12:45 | 2021-11-16 | 2663 |  |  | 175.15 | 242.8231 | 1.938% | 242.8231 | 1.119%
30 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 30-1 | 9 | 12:46 | 2021-11-16 | 2520 |  |  | 176.6667 | 231.4385 | 1.992% | 231.4385 | 1.15%
Whole Blood Arterial 30 | 10 | 12:48 | 2021-11-16 | 1287 |  |  | 178.1667 | 114.2051 | 2.787%
40 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 40-1 | 1 | 12:49 | 2021-11-16 | 2268 |  |  | 179.6833 | 211.2442 | 2.1% | 211.2442 | 1.212%
50 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 50-1 | 2 | 12:51 | 2021-11-16 | 2136 |  |  | 181.1833 | 200.2224 | 2.164% | 200.2224 | 1.249%
60 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 60-1 | 3 | 12:52 | 2021-11-16 | 2488 |  |  | 182.9 | 237.536 | 2.005% | 237.536 | 1.157%
Whole Blood Arterial 60 | 4 | 12:54 | 2021-11-16 | 1211 |  |  | 184.4167 | 111.1443 | 2.874%
70 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 70-1 | 5 | 12:55 | 2021-11-16 | 2222 |  |  | 185.9167 | 215.0454 | 2.121% | 215.0454 | 1.225%
90 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 90-1 | 6 | 12:57 | 2021-11-16 | 2135 |  |  | 187.4333 | 208.1796 | 2.164% | 208.1796 | 1.25%
Whole Blood Arterial 90 | 7 | 12:58 | 2021-11-16 | 1203 |  |  | 188.95 | 113.5424 | 2.883%
110 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 110-1 | 8 | 13:00 | 2021-11-16 | 1976 |  |  | 190.4333 | 195.5188 | 2.25% | 195.5188 | 1.299%
130 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 130-1 | 9 | 13:01 | 2021-11-16 | 1997 |  |  | 191.95 | 199.6194 | 2.238% | 199.6194 | 1.292%
Whole Blood Arterial 130 | 10 | 13:03 | 2021-11-16 | 1125 |  |  | 193.4667 | 108.5053 | 2.981%
150 | min
|  | Time | Date | Counts
Description | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) |  | Pass/Fail | decay time | act |  | Mean
Na-22 source | 1 | 7:42 | 2021-11-16 | 93806 |  | PASS | (mins) | (Bq) | error | (Bq) | error
Background | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) |  | (%)
Background | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 150-1 | 9 | 13:04 | 2021-11-16 | 1972 |  |  | 194.9833 | 200.7869 | 2.252% | 200.7869 | 1.3%
Formulas:
Test source: = [Test source:, row above]

## HPLC Data
Instrument: |  | Model |  | S/N |  |  |  |  | Operator: | DN/VM
HPLC 2 Pump |  | JASCO PU-4180 |  | C129661695
HPLC 2 UV |  | JASCO UV-4075 |  | C057561659
HPLC 2 Gamma |  | Radiomatic 610TR |  | 72543
HPLC 2&3 Computer |  | DELL OptiPlex 7050 |  | 28434002438
HPLC 3 Pump |  | JASCO PU-4180 |  | C129861695
HPLC 3 UV |  | JASCO UV-4075 |  | C057361659
HPLC 3 Gamma |  | Radiomatic 610TR |  | 72235
[8 empty] | HPLC2 | STD Rt: | 8.1 | min
* Collected up to 15 min | [7 empty] | HPLC3 | STD Rt: | N/A | min
HPLC Data |  | Arterial | [5 empty] | Intact VAT | [8 empty] | VAT
|  | pk1 |  | pk1 Rt | pk2 |  | pk2 Rt | pk3 |  | pk3 Rt | pk4 |  | pk4 Rt | Total | pk1 | pk2 | pk3 | pk4
Description | HPLC | (counts) | dc area | (m:ss) | (counts) | dc area | (m:ss) | (counts) | dc area | (m:ss) | (counts) | DC area |  | (area) | (fraction) | (fraction) | (fraction) | (fraction)
Arterial 2 | 2 | 4180 | 4278.8743 | 3.7 | 0 | 0 |  | 784435 | 827194.3764 | 8.4 | 0 | 0 |  | 788615 | 0.53% | 0% | 99.47% | 0%
Arterial 6 | 2 | 10667 | 10871.1292 | 3 | 0 | 0 |  | 308638 | 325667.4987 | 8.5 | 0 | 0 |  | 319305 | 3.341% | 0% | 96.66% | 0%
Arterial 16 | 2 | 22741 | 23176.1834 | 3 | 0 | 0 |  | 112333 | 118456.2467 | 8.4 | 0 | 0 |  | 135074 | 16.84% | 0% | 83.16% | 0%
Arterial 30 | 2 | 33304 | 33941.3224 | 3 | 0 | 0 |  | 54812 | 57836.3226 | 8.5 | 0 | 0 |  | 88116 | 37.8% | 0% | 62.2% | 0%
Arterial 60 | 2 | 45806 | 46682.567 | 3 | 0 | 0 |  | 29827 | 31492.6357 | 8.6 | 0 | 0 |  | 75633 | 60.56% | 0% | 39.44% | 0%
Arterial 90 | 2 | 43130 | 43955.3577 | 3 | 0 | 0 |  | 19524 | 20588.2489 | 8.4 | 0 | 0 |  | 62654 | 68.84% | 0% | 31.16% | 0%
Arterial 130 | 2 | 39263 | 40014.3569 | 3 | 0 | 0 |  | 14202 | 14985.6136 | 8.5 | 0 | 0 |  | 53465 | 73.44% | 0% | 26.56% | 0%
2 |  |  | 6 |  |  |  | 12 |  |  |  | 18 |  |  |  | 25 |  |  |  | 30
2 | #REF! |  | 1 | 40 | 1.6667 | [5 empty] | 2 | 10 | 2.1667 | [5 empty] | 2 | 20 | 2.3333
4 | #REF! |  | 7 | 40 | 7.6667 | [5 empty] | 4 | 20 | 4.3333 | [5 empty] | 6 | 20 | 6.3333
7 | #REF! |  | 9 | 10 | 9.1667 | [5 empty] | 7 | 20 | 7.3333 | [5 empty] | 9 | 20 | 9.3333
14 | #REF! |  | 10 | 50 | 10.8333 | [5 empty] | 12 | 0 | 12 | [5 empty] | 14 | 40 | 14.6667
40 |  |  | 50 |  |  |  | 60 |  |  |  | 90 |  |  |  | 120 |  |  |  | 150
|  |  | 2 | 30 | 2.5 | [5 empty] | 2 | 0 | 2 |  | 2 | 10 | 2.1667 |  | 2 | 50 | 2.8333
|  |  | 5 | 0 | 5 | [5 empty] | 6 | 10 | 6.1667 |  | 4 | 30 | 4.5 |  | 7 | 50 | 7.8333
|  |  | 7 | 30 | 7.5 | [5 empty] | 7 | 10 | 7.1667 |  | 8 | 30 | 8.5 |  | 9 | 40 | 9.6667
|  |  | 10 | 30 | 10.5 | [5 empty] | 13 | 50 | 13.8333 |  | 11 | 30 | 11.5 |  | 12 | 30 | 12.5
Arterial 30

## Pellet - Gamma Data
Gamma Counter: |  |  | Test source: | Na-22
Model: | HIDEX 425-601 |  | s/n |  | 2200-49
s/n: | 2180112 |  | Activity |  | 0.09614 | µCi
Count/Study date: | 2021-11-16 |  | Ref Date: |  | 2021-06-01
Operator: | DN/VM |  | Activity Today: |  | 0.085053 | µCi
[5 empty] | 3146.9535 | Bq
Decay Parameters: |  |  |  |  | 188817.2127 | dpm
Na-22 t½ | 2.6019 | years |  |  | 341003.8861 | cpm
511 yield | 180.6% |  | 22Na absolute effic. |  | 27.48%
F-18 t½ | 109.77 | mins | 18F relative efficiency | Efficiency | 53%
Rack# for gamma counting: |  | 14 | Time difference gamma to PET: |  | -1.8 | mins
Pellet Analysis | Volume |  |  |  |  | Subject
| of | Rack | Time | Date | Counts | Injection Time
Description | plasma | Position # | (hh:mm:ss) | (mm:dd:yy) | (cpm) | (hh:mm:ss) | Pass/Fail | decay time | act |  | Original | Fraction
Na-22 source |  | 1 | 7:42 | 2021-11-16 | 93806 | 9:51 | PASS | (mins) | (Bq) | error | Activity | in
Background |  | 9 | 7:44 | 2021-11-16 | 112 |  | PASS |  |  | (%) | in sample | Pellet
Background |  | 10 | 7:46 | 2021-11-16 | 104 |  | PASS
Arterial 2 | 0.5 | 1 | 13:06 | 2021-11-16 | 688 |  |  | 196.7333 | 63.1708 | 3.812% | 1998.7707 | 3.16%
Arterial 6 | 0.5 | 2 | 13:08 | 2021-11-16 | 374 |  |  | 198.2833 | 29.2564 | 5.171% | 751.8561 | 3.891%
Arterial 16 | 0.5 | 3 | 13:09 | 2021-11-16 | 252 |  |  | 199.8333 | 15.9938 | 6.299% | 355.7851 | 4.495%
Arterial 30 | 0.5 | 4 | 13:11 | 2021-11-16 | 247 |  |  | 201.3833 | 15.5903 | 6.363% | 275.5876 | 5.657%
Arterial 60 | 0.5 | 5 | 13:12 | 2021-11-16 | 269 |  |  | 202.9167 | 18.2336 | 6.097% | 302.9795 | 6.018% | Notes: All data to be supported by machine printout
Arterial 90 | 0.5 | 6 | 13:14 | 2021-11-16 | 316 |  |  | 204.4667 | 23.7881 | 5.625% | 262.7867 | 9.052%
Arterial 130 | 0.5 | 7 | 13:16 | 2021-11-16 | 326 |  |  | 206.2167 | 25.2088 | 5.538% | 507.2921 | 4.969%

## Free F
Filter | Ref: | 4104
| Lot: | R9CA86457
Plasma | Source: | Innovated reasearch
| Type: | K2EDTA Plasma
| Lot No: | IPLA-K2EDTA-21102 | RACK#12
| Exp: | 2019-10-20
[6 empty] | Decay | deccor | deccor | Mean | Std | Std
# | Rack005 |  | Mass (g) ->0.1g | Time | raw cpm | Time (min) | cpm | cpm/mL | cpm | cpm | (%)
1 | UnFiltered | saline | 0.1006 | 2021-11-16 10:39 | 170643 | 0 | 170545.5 | 1695283.3002
2 | UnFiltered | saline | 0.1016 | 2021-11-16 10:40 | 171391 | 1.5 | 172920.2433 | 1701970.8986
3 | UnFiltered | saline | 0.1023 | 2021-11-16 10:42 | 186281 | 3 | 189736.5935 | 1854707.6588 | 1750653.9525 | 90175.1703 | 5.151%
4 | UnFiltered | pooled plasma | 0.1039 | 2021-11-16 10:43 | 250561 | 4.5 | 257667.3012 | 2479954.7754
5 | UnFiltered | pooled plasma | 0.1036 | 2021-11-16 10:45 | 247599 | 6 | 257038.1895 | 2481063.6048
6 | UnFiltered | pooled plasma | 0.1046 | 2021-11-16 10:46 | 248664 | 7.5167 | 260623.1444 | 2491617.059 | 2484211.8131 | 6437.0511 | 0.2591%
7 | UnFiltered | test plasma | 0.1036 | 2021-11-16 10:48 | 150307 | 9.0167 | 158991.0722 | 1534662.8591 |  |  |  |  | Mean
8 | UnFiltered | test plasma | 0.1035 | 2021-11-16 10:49 | 151292 | 10.5167 | 161553.468 | 1560903.0729 |  |  |  | Fraction | Fraction
9 | UnFiltered | test plasma | 0.1037 | 2021-11-16 10:51 | 149403 | 12.0333 | 161067.0348 | 1553201.8781 | 1549589.27 | 13487.9727 | 0.8704% | Bound | Bound | Error | % error
10 | Filtered | saline | 0.1039 | 2021-11-16 10:52 | 149963 | 13.5167 | 163189.3708 | 1570638.7954 |  |  |  | 89.72%
11 | Filtered | saline | 0.1017 | 2021-11-16 10:54 | 148936 | 15.2167 | 163816.5469 | 1610782.1721 |  |  |  | 92.01%
12 | Filtered | saline | 0.1025 | 2021-11-16 10:56 | 151530 | 16.7167 | 168254.4384 | 1641506.7164 |  |  |  | 93.77% | 91.83% | 2.03% | 2.211%
13 | Filtered | pooled plasma | 0.1032 | 2021-11-16 10:57 | 6790 | 18.2167 | 7506.5567 | 72737.9529 |  |  |  | 2.928%
14 | Filtered | pooled plasma | 0.1008 | 2021-11-16 10:59 | 6696 | 19.7167 | 7471.41 | 74121.1306 |  |  |  | 2.984%
15 | Filtered | pooled plasma | 0.1015 | 2021-11-16 11:00 | 6905 | 21.2167 | 7781.2604 | 76662.6643 |  |  |  | 3.086% | 2.999% | 0.08013% | 2.672%
16 | Filtered | test plasma | 0.1008 | 2021-11-16 11:02 | 2285 | 22.7 | 2523.8858 | 25038.55 |  |  |  | 1.616%
17 | Filtered | test plasma | 0.1017 | 2021-11-16 11:03 | 2173 | 24.2 | 2417.4046 | 23769.9563 |  |  |  | 1.534%
18 | Filtered | test plasma | 0.1011 | 2021-11-16 11:04 | 2206 | 25.7 | 2479.1634 | 24521.8936 |  |  |  | 1.582% | 1.577% | 0.04117% | 2.61%
19 | BKG |  |  | 2021-11-16 07:44 | 112
20 | BKG |  |  | 2021-11-16 07:46 | 104
21 | BKG |  |  | 2021-11-16 07:47 | 80
22 | BKG |  |  | 2021-11-16 07:49 | 94
23 | 22Na source |  |  | 2021-11-16 07:42 | 93806
|  | mean BKG |  |  | 97.5